From: Pomije, Brian D. (LCDR)

Sent: Monday, November 13, 2006 1:39 PM

To: Van Way, Rick L LCDR (Ret); Brannon, Charlie E CIV NNMC; Frampton, Scott W CIV; Fletcher, Douglas W LCDR NNMC; St. John, Theodore J. (LCDR); Hanan El Mohammady (LES); Parry, Marie I LT

Cc: Ely, Karen D. (CIV); Clark, Dorothy M. (CIV); 'Pomije, Brian D. (LCDR)'; Hernandez, Jose E. (CIV); Fallon, Ann P. (CAPT); Mohon, Melissa A. (CDR); 'Earles, Marvin R LCDR '; Glennon, Brendan K. CDR BUMED; 'Lino CDR Fragoso (E-mail) (Lino.Fragoso@navy.mil)'; 'Hutto, Robert CAPT'; Nazareno, Felix M GS; 'Netzer, Patricia H. (CAPT)'; 'Styles, Donna L (CAPT)'

Subject: NRC Increased Controls (ICs): Escorting Service Providers That Are Not M&D Licensees

Radiation Safety Officers and NRMP Permittees:

[This message is only applicable to those commands that were required to implement Increased Controls (ICs) because they possessed radioactive material quantities of concern, and has been sent only to applicable radiation safety officers.  No response is necessary.]

The purpose of this correspondence and the attached Nuclear Regulatory Commission (NRC) letter is to notify commands of a situation regarding service providers that are not Manufacturing & Distribution (M&D) licensees which could result in a violation of the requirements for Increased Controls (ICs).

The following is provided as background information:

- On November 14, 2005 and December 22, 2005, the NRC issued Orders entitled: “Increased Controls for Licensees that Possess Sources Containing Radioactive Material Quantities of concern.”  The Orders were sent to radioactive materials licensees who held licenses issued by the NRC, authorizing possession of such material at or above threshold limits.  The Orders supplemented existing regulatory requirements in 10 CFR 20.1801 and 20.1802 in order to ensure adequate protection of, and minimize danger to, the public health and safety.

- In response to the NRC Orders, the Naval Radiation Safety Committee at OPNAV-N455 issued its Order to Naval Radioactive Materials Permit (NRMP) permittee commands on April 05, 2006.

In summary, Increased Control “1.c” requires licensees subject to ICs to escort service providers while accessing radioactive material quantities of concern, unless the service providers are determined to be trustworthy and reliable by an NRC-required background investigation as an employee of an M&D Licensee.  Non-M&D service providers did not receive an M&D Order, and therefore their employees cannot be determined to be trustworthy and reliable by an NRC-required background investigation.  A non-M&D service provider must be escorted at an IC licensee’s facility at all times while accessing radioactive material quantities of concern.

Each command’s RSO and Radiation Safety Committee (RSC) should review the attached document in its entirety to determine applicability to their command, and to ensure full compliance with NRC and Navy requirements regarding Increased Controls.

Please contact the Navy Environmental Health Center if you have any questions and/or concerns.

This and previous e-mails can be found on the NEHC internet at http://www-nehc.med.navy.mil/occmed/nrmp.htm.

Very Respectfully,

LCDR Pomije

Brian D. Pomije, MS, D.A.B.R.

Commander (select), Medical Service Corps, USN

Radiation Health Team Leader

Navy Environmental Health Center

620 John Paul Jones Circle (Suite 1100)

Portsmouth, VA 23708-2103

pomijeb@nehc.med.navy.mil

W: (757) 953-0766; DSN: 377-0766

Cell: (757) 651-2814; Fax: (757) 953-0690

HIPPA Disclaimer: This document may contain information covered under the Privacy Act, 5 USC 552(a), and/or the Health Insurance Portability and Accountability Act (pl 104-191) and it’s various implementing regulations and must be protected in accordance with those provisions. Healthcare information is personal and sensitive and must be treated accordingly. If this correspondence contains healthcare information it is being provided to you after appropriate authorization from the patient or under circumstances that don't require patient authorization. You, the recipient, are obligated to maintain it in a safe, secure and confidential manner. Redisclosure without additional patient consent or as permitted by law is prohibited. Unauthorized redisclosure or failure to maintain confidentiality subjects you to application of appropriate sanction. If you have received this correspondence in error, please notify the sender at once and destroy any copies you have made.