From: Pomije, Brian D. (LCDR)

Sent: Friday, December 29, 2006 10:14 AM

To: 'navrho@rad.usuhs.mil'; Brannon, Charlie E CIV NNMC; Burke, Gerald;

Clark, Dorothy M. (CIV); Ely, Karen D. (CIV); Fairchild Gregory R LT;

Feightner, Michael P. LT; Fletcher, Douglas W LCDR NNMC; Forcier,

Michael R. Civ; Frampton, Scott W CIV; Giel, Daniel T. (CTR); Goodwill,

Michael E CTR NNMC; Gorsuch, Gregory M. CAPT; Harden, Gary W; Houston,

Tony L. HM2; Johnson, Gabrielle M.; LaFontaine, Richard L CT; Minette,

Christopher E. (LCDR); Ozeroglu, Muhammed A LT; Parry, Marie I LT;

Pomije, Brian D. (LCDR); Scott, John H., CIV.; Smith, Glenee L. (Civ);

Solanki, Haresh P. CTR; St. John, Theodore J. (LCDR); Straiff, Walt; Van

Way, Rick L (CIV); Younes, Georges E LCDR; 'Hanan El Mohammady';

Loscocco, Michele CDR; Tomon, John LT

Cc: Fallon, Ann P. (CAPT); Mohon, Melissa A. (CDR); Pomije, Brian D.

(LCDR); Ely, Karen D. (CIV); Clark, Dorothy M. (CIV); Hutto, Robert

CAPT; Nazareno, Felix M GS; Netzer, Patricia H. (CAPT); Styles, Donna L

CAPT NMNCA; Earles, Marvin R LCDR ; Glennon, Brendan K. CDR BUMED; Lino

CDR Fragoso (E-mail) (Lino.Fragoso@navy.mil)

Subject: NRC: RIS 2006-25 (Tritium EXIT Signs)

Attachments: RIS 2006-25.pdf

Radiation Safety Officers and NRMP Permittees,

The attached Regulatory Issue Summary (RIS) has recently been released by the U. S. Nuclear Regulatory Commission (NRC) reiterating existing regulatory requirements in Title 10 Code of Federal Regulation (10 CFR) Parts 31.5 and 32.51a, for the distribution, possession and disposition of Tritium "EXIT" Signs.  Note that each exit sign can contain up to about 10 Curies of radioactive Tritium.  Note that contrary to the reporting requirements in the RIS, written reports to the NRC are not required for Navy facilities.

In the Navy, all exit signs containing Tritium must be inventoried as radioactive waste, and properly disposed of via the Navy's Low Level Radioactive Waste (LLRW) Program.  This policy is also applicable for smoke detectors and other generally-licensed devices containing radioactive materials.  The LLRW Program is maintained at the Radiological Affairs Support Office (NAVSEADET RASO) in Yorktown, Virginia.  The program coordinator can be contacted at (757) 887-7650.  The main number to RASO is (757) 887-4692.

This message is forwarded for informational purposes.  No response is required.

V/R,

LCDR Pomije

Brian D. Pomije, MS, D.A.B.R.

Commander (select), Medical Service Corps, USN Radiation Health Team Leader Navy Environmental Health Center 620 John Paul Jones Circle (Suite 1100) Portsmouth, VA 23708-2103

brian.pomije@med.navy.mil

W: (757) 953-0766; DSN: 377-0766

Cell: (757) 651-2814; Fax: (757) 953-0670